## Slide 1
APLIKASI INTERNET OF THINGS (IoT)
PADA SISTEM KENDALI POMPA AIR
Oleh:
Anung
312118052

## Slide 2
Proses pengiriman air dari sungai ke bak penampungan kebanyakan menempuh jarak yang jauh. Kondisi saat ini pengoprasian pompa pdam masih ada beberapa yang menggunakan kabel yang panjang untuk mengendalikan pompa yang ada di sungai/sumur.
Sebagian yang lain ada yang menggunakan dua operator, operator pertama bertugas memantau ketinggian air di bak penampungan lalu mengirim status ketinggian air kepada operator yang berjaga di sungai/sumur untuk menghidupkan dan mematikan pompa
Latar Belakang

## Slide 3
Diagram blok perancangan sistem
.

## Slide 4
Flow chart sumur

## Slide 5
Flow chart Sumur dan Android

## Slide 6
Tabel Alarm
No | Motor | Sensor Flow | Sensor Suhu | Level air Sumur | Overload | Keterangan
1 | X | X | X | <SV | X | Low Level
2 | ON | > 0 | X | X | X | Low Pressure
3 | X | X | > 100 | X | X | Over Heat
4 | X | X | X | X | 0 | Over Current

## Slide 7
Skema Rangkaian

## Slide 9
Pengujian Sensor Ultrasonic
Pengujian sensor ultrasonic dilakukan dengan cara memberi benda yang bisa memantulkan gelombang ultrasonic, lalu membaca hasil output dari sensor ultrasonic yang ditampilkan di serial monitor pada komputer.

## Slide 10
Pengujian Sensor Suhu
Pengujian sensor suhu dilakukan dengan cara meletakkan Sensor suhu DS18B20 dan termometer digital diletakan di dalam air panas, lalu membaca hasil output dari sensor suhu DS18B20 yang ditampilkan di serial monitor pada komputer.

## Slide 11
Pengujian Sensor Flow
Pengujian sensor flow dilakukan dengan cara mengalirkan air pada sensor dengan jumlah yang sudah ditentukan, lalu menghitung jumlah pulsa keluaran sensor flow.

## Slide 12
No | Jumlah air | pengujian | Output (pulsa) | Pulsa / ml
1 | 350ml | Pengujian ke-1 | 1382 | 3,94
2 | 350ml | Pengujian ke-2 | 1381 | 3,94
3 | 350ml | Pengujian ke-3 | 1384 | 3,95
4 | 600ml | Pengujian ke-1 | 2342 | 3,90
5 | 600ml | Pengujian ke-2 | 2347 | 3,91
6 | 600ml | Pengujian ke-3 | 2357 | 3,92

## Slide 13
Pengujian Driver Motor
Pengujian dilakukan dengan memberikan tegangan 3.3 volt pada input driver motor lalu mengukur tegangan pada motor pompa air dengan menggunakan multimeter.

## Slide 14
Pengujian Keseluruhan

## Slide 15
TerimaKasih

## Slide 16
Hall effect

## Slide 17
Hall Efek

## Slide 19
ESP5266

## Slide 22
FireBase

## Slide 23
Agenda Style
01
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title
02
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title
03
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title
04
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title

## Slide 24
You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation.
Get a modern PowerPoint Presentation that is beautifully designed.
PowerPoint
I hope and I believe that this Template will your Time, Money and Reputation. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations
MODERN
DESIGN
AWESOME
PRESENTATION
EASY TO CHANGE COLORS, PHOTOS.

## Slide 25
You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation.
Get a modern PowerPoint Presentation that is beautifully designed.
PowerPoint
I hope and I believe that this Template will your Time, Money and Reputation. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations
MODERN
DESIGN
AWESOME
PRESENTATION
EASY TO CHANGE COLORS, PHOTOS.

## Slide 26
Timeline Infographic
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
2019
2018
2017
2016
2015
2014
Content Here
Get a modern PowerPoint Presentation that is beautifully designed
2013

## Slide 27
Our Team Infographic
Chart: 
| 1st Qtr | 2nd Qtr | 3rd Qtr | 4th Qtr
Sales | 8.2 | 3.2 | 1.4 | 1.2
Presentation
Presentation
Presentation
Presentation
MICHAEL DOE
Work Experience
Progress Company
Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation. Easy to change colors, photos and Text. Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
2013 ~ 2014 Text here
Example Text : Get a modern PowerPoint Presentation that is beautifully designed.
2014 ~ 2016Text here
Example Text : Get a modern PowerPoint Presentation that is beautifully designed
2016 ~ 2019 Text here
Example Text : Get a modern PowerPoint Presentation that is beautifully designed.
We Create
Professional Presentation

## Slide 28
Infographic Style
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Contents Title
NO.1 Presentation
Modern PowerPoint Presentation
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.

## Slide 29
Infographic Style
STRENGTHS
WEAKNESS
OPPORTUNITIES
THREATS
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Your Text Here
S
W
O
T

## Slide 30
$ 64,090
$124,090
$234,090
Easy to change colors, photos and Text.
Your Text Here
LOREM IPSUM DOLOR SIT AMET,
CU USU AGAM INTEGRE IMPEDIT.
Easy to change colors, photos and Text.
Your Text Here
LOREM IPSUM DOLOR SIT AMET,
CU USU AGAM INTEGRE IMPEDIT.
Easy to change colors, photos and Text.
Your Text Here
LOREM IPSUM DOLOR SIT AMET,
CU USU AGAM INTEGRE IMPEDIT.
AWESOME
SLIDE

## Slide 31
MQTT Basic
MQTT
Broker
Subscibe
INSERT CONTENTS
INSERT CONTENTS
Publish
INSERT CONTENTS
INSERT CONTENTS
You can simply impress your audience and add a unique zing and appeal to your Reports and Presentations with our Templates. Get a modern PowerPoint Presentation that is beautifully designed.

## Slide 32
Infographic Style
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.

## Slide 33
Industrial Automation Solutions
POWERPOINT
You can simply impress your audience and add a unique zing and appeal to your Presentations
CONTENTS
You can simply impress your audience and add a unique zing and appeal to your Presentations.
TEXT
You can simply impress your audience and add a unique zing and appeal to your Presentations.

## Slide 34
Infographic Style
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
Industrial automation

## Slide 35
Infographic Style
1st
2st
3st
4st
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here

## Slide 36
Infographic Style
Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Your Text Here

## Slide 37
Infographic Style
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Contents Title

## Slide 38
Portfolio Presentation
INDUSTRY
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Portfolio Designed
You can simply impress your audience and add a unique zing and appeal to your Presentations. I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Get a modern PowerPoint Presentation that is beautifully designed.

## Slide 39
Contents
Contents
Contents
Example Text : Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Contents _ Graph
Example Text : Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Contents _ Graph
Example Text : Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Contents _ Graph
Simple PowerPoint Presentation
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.

## Slide 40
Infographic Style
80%
50%
60%
40%
Content Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Content Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Content Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Content Here
You can simply impress your audience and add a unique zing and appeal to your Presentations.
01
02
03
04
04
03
02
01

## Slide 41
ALLPPT Layout
Clean Text Slide for your Presentation
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Add Contents Title

## Slide 42
Infographic Style
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. hope and I believe that this Template will your Time.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. hope and I believe that this Template will your Time.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. hope and I believe that this Template will your Time.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. hope and I believe that this Template will your Time.

## Slide 43
Infographic Style
TITLE | A TITLE |  |  | B TITLE |  |  | C TITLE |  | 
Replaced with your own text. | Text Here |  |  | Text |  |  | Content Here |  | 
PowerPiont Template | Content Here |  |  | Content Here |  |  | Text |  | 
Replaced with your own text. | Text Here |  |  | Text |  |  | Content Here |  | 
PowerPiont Template | Content Here |  |  | Content Here |  |  | Text |  | 
Replaced with your own text. | Text Here |  |  | Text |  |  | Content Here |  | 
PowerPiont Template | Content Here |  |  | Content Here |  |  | Text |  | 
Replaced with your own text. | Text Here |  |  | Text |  |  | Content Here |  | 
PowerPiont Template | Content Here |  |  | Content Here |  |  | Text |  | 
Content Here | Text Here |  |  | Text |  |  | Content Here |  | 
 |  | Content Here |  |  | Content Here |  |  | Content Here | 

## Slide 44
Awesome Presentation
We Create Professional Presentation
You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation.

## Slide 45
Infographic Style
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Add Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Add Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Add Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Add Contents Title
You can simply impress your audience and add a unique zing and appeal to your Presentations.
Add Contents Title

## Slide 46
Infographic Style
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text.
Your Text Here
Easy to change colors, photos and Text.
Add Text
 | You can simply impress your audience and add a unique zing | 
 | Add Text | 
 | You can simply impress your audience and add a unique zing | 
 | Add Text | 
 | You can simply impress your audience and add a unique zing | 
 | Add Text | 
 | You can simply impress your audience and add a unique zing | 
 | Add Text | 

## Slide 47
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.

## Slide 48
Infographic Style
CLOUD COMPUTING
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here

## Slide 49
Infographic Style
Your Text Here |  |  | Your Text Here |  |  | Your Text Here |  |  | Your Text Here |  | 
 | Text Here |  |  | Text Here |  |  | Text Here |  |  | Text Here | 
 | Text Here |  |  | Text Here |  |  | Text Here |  |  | Text Here | 
 | Text Here |  |  | Text Here |  |  | Text Here |  |  | Text Here | 
 | Text Here |  |  | Text Here |  |  | Text Here |  |  | Text Here | 
 | Text Here |  |  | Text Here |  |  | Text Here |  |  | Text Here | 
 | Text Here |  |  | Text Here |  |  | Text Here |  |  | Text Here | 
 | $ 1200 |  |  | $1000 |  |  | $600 |  |  | $500 | 

## Slide 50
Infographic Style
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Content Here
Content Here
Content Here

## Slide 51
Infographic Style
Add Text
Easy to change colors, photos and Text.
Add Text
Easy to change colors, photos and Text.
Add Text
Easy to change colors, photos and Text.
Add Text
Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation. Easy to change colors, photos and Text.
Add Contents
Add Contents
Add Contents
Add Contents

## Slide 52
Infographic Style
Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time.
You can simply impress your audience and add a unique zing and appeal to your Reports.
Content Here
02
Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time.
You can simply impress your audience and add a unique zing and appeal to your Reports.
Content Here
03
Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time.
You can simply impress your audience and add a unique zing and appeal to your Reports.
Content Here
04
Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time.
You can simply impress your audience and add a unique zing and appeal to your Reports.
Content Here
01

## Slide 53
Content Here : I hope and I believe that this Template will your Time.
Content Here : I hope and I believe that this Template will your Time.
Content Here : I hope and I believe that this Template will your Time.
Content Here : I hope and I believe that this Template will your Time.
Content Here : I hope and I believe that this Template will your Time.
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text. Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Get a modern PowerPoint
Simple Portfolio Presentation

## Slide 54
Infographic Style
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 75 | 25
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 65 | 35
75%
65%
Example Text : Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation.
Contents Here
$23,900
Example Text : Get a modern PowerPoint Presentation that is beautifully designed. I hope and I believe that this Template will your Time, Money and Reputation.
Contents Here
$23,900

## Slide 55
Infographic Style
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here

## Slide 56
Simple
Portfolio Presentation
Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. Get a modern PowerPoint Presentation that is beautifully designed. You can simply impress your audience and add a unique zing and appeal to your Presentations.
Get a modern PowerPoint Presentation that is beautifully designed.
You can simply impress your audience and add a unique zing and appeal.

## Slide 57
Infographic Style
Easy to change colors, photos and Text.
Contents
Performance
Easy to change colors, photos and Text.
Contents
Performance
Easy to change colors, photos and Text.
Contents
Performance
Easy to change colors, photos and Text.
Contents
Performance
Chart: 
| colored | blank
% | 80 | 20
Country
Data_01 : 12,000
Data_02 : 23,300
Country
Data_01 : 12,000
Data_02 : 23,300
Country
Data_01 : 12,000
Data_02 : 23,300
Country
Data_01 : 12,000
Data_02 : 23,300
Chart: 
| colored | blank
% | 30 | 70
Chart: 
| colored | blank
% | 50 | 50
Chart: 
| colored | blank
% | 60 | 20

## Slide 58
Infographic Style
Text Here Modern PowerPoint |  |  | 
$25 |  |  | 
Contents |  | Text | 
 | Text Here |  | 
 | Content Here |  | 
 | Text Here |  | 
 | Text Here |  | 
 | Easy to change colors, photos and Text. |  | 
Text Here Modern PowerPoint |  |  | 
$100 |  |  | 
Contents |  | Text | 
 | Text Here |  | 
 | Content Here |  | 
 | Text Here |  | 
 | Text Here |  | 
 | Easy to change colors, photos and Text. |  | 
Text Here Modern PowerPoint |  |  | 
$65 |  |  | 
Contents |  | Text | 
 | Text Here |  | 
 | Content Here |  | 
 | Text Here |  | 
 | Text Here |  | 
 | Easy to change colors, photos and Text. |  | 
Text Here Modern PowerPoint |  |  | 
$20 |  |  | 
Contents |  | Text | 
 | Text Here |  | 
 | Content Here |  | 
 | Text Here |  | 
 | Text Here |  | 
 | Easy to change colors, photos and Text. |  | 

## Slide 59
Simple Portfolio
Presentation
Content
Content
Content
Portfolio Designed
You can simply impress your audience and add a unique zing and appeal to your Presentations. I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Get a modern PowerPoint Presentation that is beautifully designed.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content Here
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Content

## Slide 60
Infographic Style
50%
40%
70%
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
You can simply impress your audience and add a unique zing and appeal to your Presentations. Easy to change colors, photos and Text. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
Content

## Slide 61
Infographic Style
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
Your Text Here
I hope and I believe that this Template will your Time, Money and Reputation. Get a modern PowerPoint Presentation that is beautifully designed.
43%
75%
65%
83%

## Slide 62
Columns Infographic Style
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.
Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text. You can simply impress your audience and add a unique zing and appeal to your Presentations. Get a modern PowerPoint Presentation that is beautifully designed. Easy to change colors, photos and Text.

## Slide 63
TerimaKasih

## Slide 64
Fully Editable Shapes

## Slide 65
Fully Editable Shapes

## Slide 66
Fully Editable Icon Sets: A

## Slide 67
Fully Editable Icon Sets: B

## Slide 68
Fully Editable Icon Sets: C

## Slide 69
Hall Effect